Commercial LED Lighting

There is one Commercial LED lighting application with multiple LED lighting categories:

* LED Lamps Only
* LED Fixtures
* LED Indoor Agricultural Lighting
* Exit Signs and Occupancy Sensors
* Refrigerated Case Lighting
* Pole Mounted Lighting

Incentive

* 1. The incentive will be the lower of: As outlined on the Application Form or;
	2. 50% of fixture and lamp material cost or (25% for pole light fixture);
	3. Per project caps as outlined in individual product requirement sections below

Product & Application Requirements

* Itemized receipt (please see p.3 for clarification on acceptable receipts)
* Provide product specification sheets from contractor or consumer to validate all product requirements
* Use notes field on application to reference all individual product numbers included in a lighting category (e.g. if there a 3 different models of 4’ wrap fixtures the application note needs to reference all 3 different model numbers and quantities)
* LEDs must be Design Light Consortium (DLC) certified (*https://www.designlights.org*)
* Some LEDs are not rated by DLC (e.g. can lights), EnergyStar is acceptable in these cases

Product Guidelines

* Incentives apply to permanent lighting installations at any commercial location
* LED-to-LED retrofits do not qualify
* LED message/sign boards do not qualify
* Battery-powered, emergency-only lighting systems do not qualify
* Motion-activated security lights do not qualify
* Due to evolving LED technology, member system personnel should contact the program support staff or email EEPrebates@tristategt.org to validate lighting product qualification or category prior to the start of construction
* No authorization is required from Tri-State prior to the submittal for the lighting project prior to the start of construction
* Per project cap of $20,000, unless approval is received by Tri-State prior to application submittal

**TRI-STATE GENERATION AND TRANSMISSION ASSOCIATION, INC. ELECTRIFY AND SAVE PROGRAM GUIDE**

**Effective 1/1/2025, Revised 11/12/2024** Page 23

* Applications will be reviewed after project is completed and product verification will be based on the as-built information provided
* Final incentive calculations are subject to this review
* A project is considered to apply to all fixtures and lamps contained in the application, excluding pole mounted lighting and refrigerated case lighting, which have their own project caps defined below
* Retrofit is defined as lighting changes that do not require moving or adding to the existing electrical circuits and junction box locations
* Lighting that requires new or relocated junction boxes is considered new construction
* See individual product incentive, application requirements, guidelines and potential rebate caps in sections below

LED Lamps Only - Product Requirements

* High Output (HO) lamps must be defined as such in the lamp model number and/or specifications
* Type C lamps must be defined as such in the lamp model number and/or specifications
* All lamps must be a minimum of 500 lumens to qualify

LED Fixtures - Product Requirements

* Items submitted under fixtures must be a complete fixture replacement
* Fixtures purchased without lamps do not qualify; lamps should be submitted under LED lamps
* All fixtures must be a minimum of 500 lumens to qualify
* Retrofit kits are required to include a reflector to be eligible for fixture rebate and should be submitted under the appropriate fixture type
* Retrofit kits without a reflector can be submitted as a lamp-only replacement

Exit Signs and Occupancy Sensors

Incentive

* Exit signs- $7 each
* Occupancy sensor- $15 each

Product & Application Requirements

* Include product make and model information
* Exit Signs must be illuminated and hard-wired

Refrigerated/Freezer Case LED Lighting

Incentive

* Reach-in cases: $60 per door
* $10 per linear foot for top lighting of multi-deck open cases
* Per Project Cap of $3,000 (50 doors or equivalent)
* Capped at 50% of the fixture material cost

**TRI-STATE GENERATION AND TRANSMISSION ASSOCIATION, INC. ELECTRIFY AND SAVE PROGRAM GUIDE**

**Effective 1/1/2025, Revised 11/12/2024** Page 24

Product Guidelines

* New construction and retrofit projects qualify
* Incentive applies to medium and low temperature reach in refrigerated cases and multi-deck open cases

Pole Mounted LED Lighting

Incentive

* The incentives will be the lower of:
* 25% of the material cost for each head,
* Per project cap of $20,000 applies only to Pole Mounted Lighting Category

Product Guidelines

* Only new LED fixtures qualify
* Minimum Lumens as stated in the application
* Lighting directly attached to buildings, signs, parking garages, or off-street pedestrian lighting, bollards or lamps of less than 2,100 lumen output do not qualify as Pole Mounted Lighting
* Screw-in LED lamps and LED retrofit kits do not qualify as Pole Mounted Lighting. Please see the *LED Lamps Only* section on the Commercial LED Lighting application form